## Items To Sell $
Item | Suggested Sale Price | Description/Model/SN | Notes
Forma Scientific Freezer -86c | 6500 | M: 958, SN: 72995-1305 | 20.5L capacity -86c freezer
Harris Freezer -86c | 6500 | M: SLT-20LS-900A14 | 20.5L capacity -86c freezer
ThermoForma Freezer -86c | 6500 | M:8558, SN: 22023 | 20.5L capacity -86c freezer
HS 602 Vaccum pump | 1200 | M: HS 602, SN: IT1429A602 | 220v Vacuum Pump, with gradual start
USALab -80c Chiller 30L | 8500 | M: DLSB-30/80, D: 30L -80c 220v, BN : 19121491 | 30L -80c Recirculating chiller
USALab -80c Chiller 30L | 1000 | M: DLSB-30/80, D: 30L -80c 220v, BN : 19121491 | Replacement units good for parts or someone to fix Hvac
USALab -80c Chiller 30L | 1000 | M: DLSB-30/80, D: 30L -80c 220v | Replacement units good for parts or someone to fix Hvac/pump
Thermo RTE 17L Heater/Chiller | 1500 | M: RTE 17L, SN: 107282020 | 17L Ricirculating heater/chiller
ChemFlotronics WFE 6" | 20000 | DN:100 | Between two items listed below, comes with 5L feeding Vessel
LNEYA Heater | 8500 | M: UC-3020N, SN: 8128543 | Goes with Chemoflo wfe
LNEYA Chiller | 8500 | M: LX-0250N, SN: 8128247 | Goes with Chemoflo wfe
ADX American Rotary 3 Phase | 1200 | M: ADX3PH, SN: 37M327W737G1 | 3 phase Convert
Agilent 1200 Series | 13500 | M: 1200 Series | 1100 series body, 1200 series body doesnt exisit on the body due to the build agilent did for our machine, custom built with auto arm sampler and spare parts, and new custom tray for samples
Mettler Toledo Scientific Scale | 2500 | M: S105DU, SN: 1126193342 | Scietific scale, inclosed with glass to register correct weight precisely
BBV Rotary Evaporator 30L | 3500 | M: RE-3002, SN: 18124175 | 30L rotoary evaporator, discontinued in this size
Across International 10L Short Paths | 15000 | M: ClearS | BOTH AI systems are turn key with individula SN and M for parts.
Across International 10L Short Paths | 15000 | M: ClearS | BOTH AI systems are turn key with individula SN and M for parts.
USALab UVP21 Pump | 2000 | M: UVP-21 | Vacuum Pump
Lab1st 6" WFE Hybrid | 35000 | M: HMD-150 | Hybrid system comes with stainless steel coils, and upgraded chiller
HydroCarbon System | 50000 | NA: Custom Built To Our Specs | Fully customized Hydrocarbon system built with 2 solvent tanks, 2 dewax, 1 reactor, and 8- 6X48 material columns.
BVV Explosion Proof Recovery Pump | 1899.99 | M: CMEP-OL, SN 86-25-85622796 | https://www.ebay.com/itm/BVV-CMEP-OL-Gen-3-Oil-less-Explosion-Proof-Recovery-Pump/254698758708?hash=item3b4d3aa234%3Ag%3AXnQAAOSw5alfRCgI&LH_ItemCondition=4
USALab DFY 5-10 | 1500 | M:DFY-5/10, SN: 1803095 | Heater 10L
Across International H100-15 | 750 | M: H100-15, SN: 75019124 | Heater 15L
High Tech Shredder | 2350 | M: SH110, SN: HT356 | Cup110 does 3-7 pounds per 5 secs

## Details
USA Lab 110V 5L -10°C to 99°C Magnetic Recirculating Heater Chiller HC-5/10
Brand: | USA Lab
SKU: | HC510
UPC: | 810047121534
Model: | HC-5/10MPN:HC-5/10
Brand: | USA Lab
Power Requirements: | 110-120V 50-60Hz 30A Single Phase
Need a heater chiller that is ultra quiet yet pumps efficiently? Look no further! Our all new HC-5/10 Heater Chiller is built for high flow rates and low/high temperatures. With a low temperature of -10°C and a high temperature of 99°C, this heater chiller is a work horse that pumps 30L per minute! Our HC-5/10 heater chiller even comes with magnetic stirring capabilities.
These work great for our Rotary Evaporators & Short Path Systems!
HC-5/10 SPECIFICATIONS
•Reservoir Capacity: 5L
•Reservoir Dimensions: 8" x 8"
•Cooling Range: -10°C to 38.5°C
•Heating Range: -10°C to 99°C
•Power Requirements: 110-120V 50-60Hz 30A Single Phase
•Refrigerating BTUs: 4,500BTU - 1,000BTU
•Heating Element Wattage: 1000W
•Circulating Pump Wattage: 100W
•Temperature Accuracy: +/- 0.5°C
•Pump Flow: 30L/Min
•Pump Pressure: 0.4bar
•Barb Size: 1/2"
•Refrigerant: R404
•Dimensions: 19" x 14" x 29"
•Weight: 100lbs
USA Lab -80°C 30L Recirculating Chiller DLSB-30/80 30L/Min
Brand: | USA Lab Equipment
SKU: | DLSB3080
UPC: | 810047121237
Model: | DLSB-30/80
MPN: | DLSB-30/80
Brand: | USA Lab Equipment
Power Requirements: | 220-240V 50-60Hz 30A 5250W Single Phase
The USA Lab DLSB-30/80 is a powerful -80°C Chiller with a 30L Reservoir. This chiller is a true lab chiller than is ideal for applications involving vacuum systems, jacketed reactors, rotary evaporators, columns, solvent tanks, and even analytical instruments.
The USA Lab DLSB-30/80 chillers offer unbeatable performance, ease of use and high reliability. These units keep quiet despite having a powerful pump allowing for constant flow rates to match the needs of demanding applications.
DLSB-30/80 SPECIFICATIONS
•Reservoir Capacity: | 30L
•Reservoir Dimensions: | 13.7" x 13.7"
•Temperature Range: | Room Temperature to -80°C / -112°F
•Power Requirements: | 220-240V 60Hz 30A 5250W Single Phase
•Refrigerating BTUs: | 16,000BTU - 1,450BTU
•Circulating Pump Wattage: | 100W
•Temperature Accuracy: | +/- 0.5°C
•Pump Flow: | 30L/Min
•Lift: | 10-20m
•Pump Pressure: | 2.2bar
•Barb Size: | 5/8"
•Refrigerant: | R404
•Dimensions: | 39" x 31.9" x 48.4"
•Weight: | 473lbs
Agilent Technologies 1200 Series HPLC System
The Agilent 1200 Series HPLC System was introduced in 2010, with a modular design allowing users to define a configuration ideally suited to meet their HPLC and UHPLC applications and requirements. In 1995, then company Hewlet Packard introduced the 1100 Series liquid chromatograph, which was designed to help chemists support faster product-development cycles (such as those for new pharmaceuticals) and improve the quality of analytical results.
The 1200 series is a step forward from the innovative 1100 series, building on the modular design and configuration capabilities of the original. The result is a superior combination of speed, resolution, and senstivity that has fostered widespread implementation in many labs.
The 1200 series achieves high levels of sample throughput by the use of either binary or quaternary pumps and interchangeable autosamplers. The high pressure operation and the use of short columns with small diameter media result in fast, high resolution separations. The dual-lamp design and the temperatire control of the 1200 series diode array detectors ensure outstanding sensitivity. Easy to use and scalable, the software and control instrumentation are advanced and critical value features. In total, the 1200 series of HPLC systems are a must have for any analytical lab.
The Agilent 1200 Series HPLC System includes:
G1379B Micro Degasser
G1311A Quat Pump or G1312A Binary Pump
G1329A Auto-Sampler
G1330B Auto-Sampler Thermostat
G1316A Column Compartment\
G1315B Diode Array Detector
G1364C Fraction Collector (optional)
Includes Computer pre-loaded with Chemstation Software, Flat Screen Monitor, Mouse, Keyboard and Cables.
cooling chiller low temperature air circulator for lab
Brand:LNEYA
Products Model:LX-0250N
Brand Name: | LNEYA
Model Number: | LX-0250N
Type: | circulator
Certification: | CE
Medium.Temperature Range: | -15℃~30℃
Circulation pump:Max20L/min 1.5bar
Refrigerants:R-404A
Capacity of liquid storage: | 15L
Compressor: | Tecumseh
Evaporator: | Copper tube
Connection size: | DN15
Product size: | 400*600*1150 mm
Weight: | 115kg
Low temperature air circulator for lab
Description
♦ Saving resources;closed cycle pipeline design highly prevent circulating water pollution and extend the lifetime of circulation liquid.
♦ Multi-safety protection,more reliable operation
♦ Brand compressor,cascade refrigeration colling technologies
♦ Human design,more convenient and flexible
♦ Efficient two-condensate system
♦ Computer-cascade temperature controller,temperature figures display,adjustable unit is 0.1℃,temperature range is -125℃~-20℃,PT100 temperature sensor.
♦ Use of cold technology,can guarantee the stability of temeprature at low temperature.
♦ Can set the temperature difference of compressor on/off.
♦ Monitoring the ambient temperature,prevent temperature to be higher in the running system.
♦ A variety of fault alarm (overtemperature alarm, sensor alarm, high pressure alarm,compressor overheat alarm, liquid level alarm).
♦ Power on delay protection,three-level cascade system protectors.
♦ All parts are safety grounding.
♦ Adopt full closed circulation design,no water vapor at low temperature and ensure the purity of cooling medium,in case of ice crystals,provide a long timelife of heat transfer liquid.
♦ High-performance circulating pump, can guarantee 24 hours continuously running a day.
♦ Use plate cool-heat-exchanger,heat transfer efficiency is provided.
Techinial parameter
Product model | LX-0250N
Temp. range | -15℃~30℃
Temp. control and display | ASET multifunctional controller 7-inch touch screen display
Temp. control optional | Heat-conducting medium outlet temp.control
communication protocol | MODBUS RTU Protocol, RS 485 Interface
Temp. feedback | Heat-conducting medium temperature feedback PT100
Circulation pump | Max20L/min
1.5bar
Capacity of liquid storage | 15L
Compressor | Tecumseh
Evaporator | Copper tube
Operation panel | 7-inch color touch screen, temperature curve record, excel-format export.
Security protection | Self-diagnosis function;freezer overload protection;high pressure switch;overload relay,thermal protection device etc.security protection function.
Refrigerants | R-404A
Connection size | DN15
Product size | 400*600*1150 mm
Weight | 115kg
Power | AC 220V 50HZ
1.5kW(max)
Material | Cold rolled steel
Optional | Pressure ≤10 bar circulating pump
Optional | SUS304 case material
Remark | Can make the bigger capacity of water storage as required.
Optional power | 220V 60HZ three-phase,440V~480V 60HZ three-phase
Heating Circulator UC
Heating Circulator UC series with function from high temperature to cooling process, from 300℃~50℃.
Equipped with heating cooling container, with large heat transfer area, fast heat-up and cool-down, small heat transfer oil demand.
Can heat-up and cool-down continuously.
The whole cycle is full closed,there is no oil mist at high temperature, heat transfer oil can not be oxidized and browning.
With function of internal PT100 for correcting internal circulation.
The whole system is closed with expansion tank, the expansion tank and liquid circulation are thermal insulation, do not participate in liquid circulation, regardless of high or low temperature, the medium in expansion tank is limited to 60℃.
Technical Parameters Of Heating Circulator:
Model |  | LY-3020 | LY-5020 | LY-A020 | UC-3020 | UC-5020 | UC-A020 | UC-A1520 | UC-A2520 | UC-A3820
Temp. range |  | 50℃～200℃
Controller |  | PID adaptive controller
Temp. control |  | Heat-conducting medium outlet temp. control
optional
Communication |  | MODBUS RTU protocol RS 485 interface
protocol
Temp. feedback |  | Heat-conducting medium temperature feedback PT100
Temp. accuracy |  | ±0.5℃
Heating power |  | 3kW | 5.5kW | 10kW | 2KW | 5.5kw | 10kw | 15kw | 25kw | 38kw
Cooling | 200℃ |  |  |  | 2KW | 5.5kw | 10kw | 15kw | 25kw | 38kw
capacity | 100℃ |  |  |  | 1.3kw | 4kw | 8KW | 12kw | 20kw | 30kw
| 65℃ |  |  |  | 0.6kw | 1.8kw | 3.4KW | 5kw | 8.5kw | 12kw
Circulation pump |  | Max10 | Max35 | Max50 | Max10 | Max35 | Max50 | Max50 | Max110 | Max110
|  | L/min | L/min | L/min | L/min | L/min | L/min | L/min | L/min | L/min
|  | 1BAR | 2BAR | 2BAR | 1BAR | 2BAR | 2BAR | 2BAR | 2.5BAR | 2.5BAR
Heater |  | Flanged pipe electric heater
Independent |  | Lneya
temp. limiter
Cooler |  | Plate heat exchanger/Tube heat exchanger
Operation |  | Display set temperature and measured temperature，key operation input temperature
panel
Sefety |  | Self-diagnostics；high pressure switch，overload relay、variety of security features such as thermal protection devices
protection
Closed circulation system |  | The entire system is a fully enclosed system，no oil mist at high temperatures、low temperature does not absorb moisture in the air，the system does not increase the pressure due to high temperature during operation，the low temperature automatically replenishes the heat transfer medium
Connection size |  | G1/2 | G3/4 | G3/4 | G3/4 | G3/4 | G3/4 | G1 | DN-32 | DN-32
Dimensions cm |  | 40*60 | 40*60 | 40*60 | 40*60 | 40*60 | 55*95 | 70*100 | 80*120 | 100*150
|  | *115 | *115 | *115 | *115 | *115 | *175 | *175 | *185 | *185
Weight |  | 30kg | 70kg | 80kg | 65kg | 78kg | 128kg | 170kg | 290kg | 380kg
Power |  | AC 220V | AC 380V | AC 380V | AC 220V | AC 380V | AC 380V | AC 380V | AC 380V | AC 380V
50HZ |  | 2.2kW | 5.9kW | 10.8kW | 3.5kW | 5.9kW | 10.8kW | 15.7kW | 26.5kW | 39.5kW
Case material |  | Cold rolled sheet spray
Optional |  | Optional 7-inch color touch screen，recording temperature curve，data export using excel format
Optional |  | SUS304 shell
Optional power |  | 220V 60HZ three phase，440V～460V 60HZ three phase
CMEP-OL Gen 3 Oil-less Explosion Proof Recovery Pump
MFR: BVV
SKU: CMEP-OL
The CMEP-OL is the first oil-less explosion proof recovery pump in the world that has been specifically designed with the extraction industry in mind. Your safety and the safety of others are paramount, so you will be happy to know that the CMEP-OL meets UL explosion proof safety standards and uses only food safe internal components. All internal metal components on the CMEP-OL are made from stainless steel, same as a closed-loop extraction system. The seals are made from PTFE (Teflon), making them leak proof and impervious to hydrocarbon based refrigerants and solvents such as R600 (butane) and R290 (propane).
CMEP-OL Features & Specifications:
All stainless steel and PTFE components
Approved Refrigerants: R600,R600A, and R290
UL listed explosion proof motor provides sparkless operation
1HP stainless steel oil-less twin-cylinder compressor
Compressor gas displacement: 1.25CFM
Entire system specially designed for hydrocarbon recovery
Meets UL explosion proof standards
Engineered for 24-hour continuous duty working conditions
NEMA 7 electrical enclosure (explosion proof)
Includes carrying handles and casters for easy moving
3/8″ MNPT inlet & outlet ports
Fast vapor recovery rate: ≤157 lbs/h
Ultimate vacuum capability: -29.48”Hg
High pressure protection: 360 PSIG
Voltage: 115 VAC / 6.5 A / 60Hz
Power Consumption: 750 watts
Weight: 94 lbs
Patent and UL certificates pending
USA Lab 21CFM UVP-21 Corrosion Resistant 2-Stage Vacuum Pump
MFR: USA Lab
SKU: UVP-21
Our new line of corrosion resistant UVP-21 21 cfm vacuum pumps provide superior quality that can compliment multiple applications. These pumps are designed for reliable, long term use at 0.3 micron and a powerful pumping speed of 21 cfm. Each pump comes standard with an exhaust oil mist filter and all parts needed to connect to any system for immediate use. Our UVP-21 pump is great for any laboratory application, including short path distillation, vacuum ovens, and many more. Upgrade today and get one of the most superior vacuum pumps on the market at an affordable price.
• Allows users to control the gas ballast for multiple vacuum levels.
• Corrosion-resistant vanes for premium reliability.
• Low noise level and noise-dampening rubber feet.
• Internal check-valve, preventing accidental back-flow.
• Easy to change oil mist filter.
• Large oil reservoir.
UVP-21 SPECIFICATIONS
•Electrical Requirements: 220V 15A 1100W Single Phase
•Pumping Flow Rate: 21 CFM
•Ultimate Vacuum without Gas Ballast: 0.3 Micron
•Ultimate Vacuum with Gas Ballast: 6 Micron
•Oil Volume: 2 Liter / 2.1 Quart
•Recommended Oil: Inland 19
•Inlet/Outlet Connection: KF25
•Motor Speed: 1720 rpm
•Noise Level: <58 dB
•Working Temperature: 5-40°C
•Weight: 94Lbs
Across International 100C Compact 15L Capacity Heated Circulator
SKU #: AI-H100-15
The new Ai H100 series heated circulators offer outstanding performance and high reliability as well as quiet operation and ease-of-use. Powerful force/suction pump provides constant flow rates, while the 2nd generation PID controller gives you the ideal solution when you need precise temperature control.
Features
UL 61010-1 and CSA C22.2 certified (optional)
Powerful 1000 watts heater
Adjustable pumping speed up to 20 liters per minute
2nd generation 7" TFT touch screen controller
ANSI standard all stainless steel reservoir
All steel construction for durability
Small footprint saves valuable lab space
Connection tubing included
Recommended for 2L to 10L distillation systems
Specs
Model | H100-15
Temperature range | Ambient to 100¬∞C (No load)
Electrical requirements | 110V 60Hz 1-Phase 1,050 watts
Heating capacity | 1,000 watts
Recirculating pump | Pumping speed: 20 liters per minute, adjustable
Maximum head: 16 feet or 5 meters
Reservoir | Dimensions: 9.5 x 12 x 7.5" (WxDxH)
Material: Type 304 stainless steel
Capacity: 15 liters or 4 gallons
Chilling fluid connection: 3/8" hose barb x 2
Chilling fluid drain port: 3/8" hose barb with on/off valve
Temperature controller | Type: Digital microprocessor PID controlled
Display: 7" touch screen
Display unit: Celsius ¬∞C
Temperature step: 0.1¬∞C
Temperature accuracy: +/- 2¬∞C
Temperature range: Ambient to 100¬∞C
Working environment | -15¬∞C/5¬∞F to 25¬∞C/77¬∞F, at <66% humidity
Built-in swivel casters | No
Unit/shipping dimensions | 12.5 x 16.5 x 20" / 17 x 20 x 22" (WxDxH)
Unit/shipping weight | 30 Lbs / 36 Lbs
Safety | Short circuit and ground protection
Over-current protection
Over-temperature protection
Upper/lower temperature alarm protection
Warranty | One year
Compliance | UL 61010-1 :2012 Ed.3+R:29Apr2016
CSA C22.2#61010-1 :2012 Ed.3
Thermo Neslab RTE 17 Digital Recirculating Chiller Water Bath
The Thermo Scientific RTE 17 refrigerated bath chiller circulator comes from a long line of reliable chillers built off the Neslab technology. The RTE 17 offers powerful cooling and heating, expansive temperature ranges with sophisticated controller technology at, above or below ambient temperatures. The Thermo Neslab RTE 17 is robust, yet compact enough while offering accurate temperature stability and high reliability for external circulation and in-bath applications. An industrial-grade force and suction pump from this recirculating chiller provides the pressure necessary to circulate fluid long distances to both open containers and closed loop systems. This gives users the flexibility to meet a wide range of application needs.
This Thermo Scientific RTE 17 Bath Circulator by NESLAB provides excellent agitation in the bath for improved uniformity and stability. The controller technology ensures that the NESLAB RTE 17 performs at its peak. This unit is an economical investment with capabilities that meet a wide range of application needs, and is designed for years of reliable service. This Thermo Scientific NESLAB RTE 17 chiller bath circulator is a Digital Plus Model with RS232/RS485 communication ports, temp range of -25°C to +150°C, Flow 15L/min., Force/Suction Pump, with Stainless Steel Bath, 17 liters (4.5 Gallons).
ChemFlotronics Wiped Film Evaporator
Wiped Film Evaporators (WFE) are extensively used for evaporation applications in distilling, concentrating, stripping, reaction of products that involve high viscosity, high boiling points and heat sensitivity
Advantages:
➢Continuous processing for heat Sensitive, fouling and viscous Products
➢Short residence time
➢High heat Transfer coefficients
➢Low hold up with minimum losses
➢Easy operation with low maintenance
Analytical Balance MS105DU
For Higher Accuracy Needs.
Semi-micro balance for weighing smallest samples: 120 / 42 g capacity, 0.1 / 0.01 mg readability, high resolution weighing cell, FACT, ergonomic doors, pipette-check application
Precise Results
For consistently accurate results, FACT automatic temperature controlled adjustment uses 2 internal weights to test for sensitivity and non-linearity.
Efficient Handling
Work faster and more ergonomically by opening the draft shield ErgoDoor with one hand whilst simultaneously placing your sample with the other.
Space Saving
The draft shield doors do not project beyond the balance and the interface ports are mounted sideways to make best use of your valuable workspace.
Specifications - Analytical Balance MS105DU
Maximum Capacity | 120 g/42 g
Readability | 0.1 mg
0.01 mg
Repeatability | 0.08 mg
Minimum Weight (USP, 0.1%, typical) | 30 mg
Adjustment | Internal / FACT
Weighing Pan Diameter | 80 mm
Display | High contrast display (HCD)
Legal for Trade | No
Settling Time | 1.5 s
Repeatability (typical) | 0.015 mg
Interfaces | RS232 and USB
Dimensions (Depth) | 358.0 mm
Dimensions (Height) | 331.0 mm
Dimensions (Width) | 247.0 mm
Evaporation Trap | Yes
Linearity ± | 0.15 mg
Linearity, typically | 0.05 mg
Power | AC Power supply
Temperature accuracy (±) | 0.0002 ppm/°C
Guaranteed Repeatability | 0.08 mg
Housing | Die-cast aluminum, plastic PA-12
Resolution | 0.1 mg
0.01 mg
Hygenic Design | Yes
BBV Rotary Evaporator 30L
RE-3002 rotary evaporator’s rotary bottle maximum capacity is 30L, receiving bottle’s maximum capacity is 20L, rotate speed is 0-90r.p.m, motor power is 250W. RE-3002 rotary evaporator(evaporating bottle volume>10L) is equipped with double condenser(main and vice condenser), which has better condensation effect and higher recovery rate. Because this rotary evaporator works under vacuum condition, and contact segment all adopt high temperature resistance material-high borosilicate glass and PTFE material, it is especially suitable for heat reactive material and material which is corrosive to stainless steel’s concentration, crystallization, separation and solvent recovery.
The rotary evaporator has advantages of large contact area, high evaporation efficient, easy to handle, low noise, good sealing performance, complete in specifications and can manage easily foam material. It already has various specification products: 2L, 3L, 5L, 10L, 20L, 30L, 50L, 100L and so on, and the 100L rotary evaporator is an exclusive research and developed large-size rotary evaporator of our company, designed for the purpose of mass production need.
RE-3002 rotary evaporator has following features:
Rotating body is composed of a reliable three-phase asynchronous motor and a transducer control device;
Double sealed by PTFE and fluorine rubber sealing ring to keep high vacuum degree, separate gas and liquid and maintain no backflow;
Adopt main and vice efficient condenser, there has automatic switching device between vice condenser and receiving bottle. Below receiving bottle, equipping with tapping valve, which makes it convenient to recycle solvent and the recovery rate approach to 100%;
Rotary bottle is connected by nut, that is easy to install and dismount;
Continuously charging and recycling material;
Vacuum system is equipped with vacuum meter, choose best working vacuum degree to low boiling point materials;
Heating kettle is applicable for both water and oil, digital thermostat control and manual up and down, closed resistance wire heater, temperature control by K type transducer. Besides, heating groove can move left and right;
Has the function of dry burning resistant protection and safe temperature loop;
Smooth starting, can positive and negative inversion operate;
Durable design, can choose plate bursting disk glass component as needed.
Rotary evaporator, also called rotavap or rotovap, is a commonly used lab instrument in chemistry laboratory, mainly used in continuous distillation of a large amount of volatile solvent under negative pressure. Especially for the concentration of extract liquor and distillation of receive liquid when chromatograph. Because evaporator is vacuumized, to be distilled solvent’s boiling point depressed. In general, ingredient which is distilled form sample is the target ingredient in chemical research, such as extracting some natural ingredient from organic synthesis sample. Rotary evaporator mostly is used for isolating low-boiling ingredient, such as hexane, ethyl acetate, that presenting liquid state under indoor temperature and normal pressure. Besides, it can dislodge some ingredient in sample by standard operation.
lab1st MD-150 6'' Molecular Wiped Film Distillation Evaporator,Essential Oil Distillation Equipment
LAB1ST Scientific are now offering MD-Series glass molecular distillation turnkey system, including the evaporator, vacuum pump, heaters, chillers and necessary feeding/receiving equipment. The glass wiped film molecular distillation unit is superior than traditional short path distillation kit by shorter residence time, lower separation temperature, capability of continuous and unattended operation. The units are available in various sizes (80mm, 100mm, 150mm, 200mm), with processing speed starting from 700g/hour.
All Borosilicate 3.3 glass design for a perfect view on the separation process.
Short residence time (separation is finished in seconds, instead of hours).
The very low operating pressure ensure very low distillation temperature and therefore a very gentle distillation is possible.
Various size options(80mm, 100mm, 150mm, 200mm) for different throughput.
Turkey package which is plug-and-play, technical supports available.
Harris SLT Ultra-Low Temperature Chest Freezer
The Harris SLT Chest Freezer brings you in depth monitoring and alarm for when precise control is a must. This chest -86°C lab freezer features a battery backed up safety alarm that charges continuously, no batteries to change, and exterior contacts for a remote system. This microprocessor controlled lab freezer has a temperature range of between -50°C to -86°C adjustable in 1°C increments through the digital touch pad control panel. The Harris SLT Chest freezer features an insulated sub lid that helps to minimize exposure during openings for better temperature retention. This ultra low temperature freezer comes with a chart recorder, a lockable control panel and door, and current temperature verification reports so you can feel confident your samples are secure.
Temperature Range | -50°C to -86°C
Capacity | 20.5L
Internal Dimensions | 26.5 x 19.0 x 70.5 (670 x 480 x 1790)
External Dimensions | 41.0 x 31.8 x 95.5 (1040 x 808 x 2430)
Weight | 940lbs
Forma Model 958 non-CFC ultra-low freezer
Temperature range: | -50 C to -86 C
Exterior dimensions: | 95″ W x 41″ H x 28.75″ F-B
Interior dimensions: | 66.4″ W x 28″ H x 18.5″ F-B
Capacity: | 20 cu.ft.
Refrigeration: | Two – 1/2 hp compressors
Electrical: | 208-230 VAC, 12 A ( requires 15A breaker service)
Weight: | 825 lbs.
Category: | Lab Freezers & Refrigerators in USA
Subcategory: | Freezers
Subcategory 2: | Lab equipment
Subcategory 3: | Freezers / refrigerators
High Tech 110 Cup Industrial Cannabis Grinder
The grinder grinds to perfect extraction mm size. No more ninja, no more blender.
The 110 Cup shredder can proccess around 2 lbs of material in 3- 7 seconds depending on moisture levels.
The grinder uses whips rather than blades so there is never any powder unless you want powder.
The system is built in the USA, and never produces any powder. A single operator can process 100 lbs a hour.
Achieved Certification to the following standard(s):
UL 60335-1/CSA-C22.2 No. 60335-1:16, Sixth Edition: Safety of Household and Similar
Additional Information
Name | High-Tech 110 Cup Industrial Cannabis Grinder
Brand | High-Tech
SKU | HG110
Actual Weight | 50
Shipping Weight (lbs) | 75
Motor | 3/4 horse dayton
Dimensions | 24" Diameter Drum
Voltage | 120V/50hz/60hz Timer 1-15 seconds
Amps | 60hz 5 amps
Varian HS602 Dual Stage Rotary Vane Vacuum Pump, 220 VAC, 749-9365
Agilent HS 602 Overview
The Agilent Technologies / Varian HS 602 Dual Stage Rotary Vane Pump is oil sealed and driven by a single phase electric motor. The pump works with force-feed lubrication, provided by an auxiliary gear-pump driven by the rotor of the vacuum pump itself. This ensures proper lubrication even when pressures are close to atmospheric.
The entire Varian HS 602 pump functional block is immersed in the oil contained in the casing. The oil guarantees perfect sealing of the discharge valves, enters the pump to ensure lubrication and sealing of the parts inside, facilitates heat dissipation and reduces pump noise.
The Agilent HS 602 pump is equipped with a special antisuckback device which automatically isolates the vacuum system when the pump stops. This avoids rises in pressure or oil flow in the vacuum system while air is allowed back into the stator chambers.
Features:
Pumping speed: 17.6 cfm
Ultimate pressure: 2 x 10-3 mbar
Inlet flange: DN 25 KF
Free air displacement: 605 l/min
American Rotary Phase Converter, 240 VAC Single To Three Phase
ADX Series, Extreme Duty - This SMART Series Phase Converter is manufactured in the USA by American Rotary and will convert 1 to 3 Phase power and provide 100% power for 208-250v equipment.
The ADX series phase converters have current control to provide consistent torque while starting high inertia, extremely hard starting loads, yet are precise enough for CNC applications.
Best for: High Inertia/friction loads such as pumps, fans, compressors, blowers, dust collectors and fly wheels.
Features
Made in the USA
Modular & Expandable
VIT Generator
Full Current Latching Starter
3 Phase Breaker and Receptacle Slots
MicroSmart Digital Industrial Programmable Controller
ACROSS INTERNATIONAL 10 LITER SHORT PATH
Features
The DigiVac StrataVac gives you deep vacuum and high throughput, it is one of the most accurate and powerful vacuum controllers on the market.
Newly re-designed 5L distillation head with larger vacuum jacket for less heat loss during distillation, increased internal diameter for more efficient fractioning and condensation of vapor with zero clogging.
Ai Heavy wall glassware for durability
Vacuum jacketed vapor channel
Boiling flask to distillation port: 34/45 joint
Thermo port on boiling flask: 24/40 joint
Thermo port on distillation head: 14/20 joints
Recirculating fluid and vacuum connectors: GL-16 adapter and 3/8" hose barb
Glass material: high borosilicate glass 3.3
T1 cold traps prevent vapors being evacuated from entering a vacuum pump where they would condense and contaminate it
Custom HydroCarbon System
Hydrocarbon system- 2 solvent recovery tanks, 1 Reactor tank, 2 Dewax columns, 8 Material columns 6x48, 1 Manifold, 2 condenser coils