Equipment Inventory

## Table of Contents

Contents

Table of Contents	1

10L Glass Reactor	2

20L Glass Reactor	3

Moving Cool Air Conditioner	4

PolyScience Chiller	5

Cold Trap	6

Merlin M150 Chiller	7

Roller Mill	7

Rotary Airlock	9

Shear Mixer	10

Vibrating Screen Sifter	11

## 10L Glass Reactor

Images:

| Manufacturer | N/A |
| --- | --- |
| Model # | N/A |
| Power Requirements | 120V |
| Dimensions | 20” x 20” x 68” |

Description: Used 10L Glass Reactor, Jacketed with variable speed agitation.

## 20L Glass Reactor

Images:

| Manufacturer | N/A |
| --- | --- |
| Model # | N/A |
| Power Requirements | 120V |
| Dimensions | 32” x 24” x 84” |

Description: New, unused, 20L Glass Reactor, Jacketed with variable speed agitation. Includes assorted fittings.

## Moving Cool Air Conditioner

Images:

| Manufacturer | N/A |
| --- | --- |
| Model # | N/A |
| Power Requirements | 120V |
| Dimensions | 20” x 27” x 42” |

Description: USED Movin Cool Portable Air Conditioner.

## PolyScience Chiller

Images:

| Manufacturer | PolyScience |
| --- | --- |
| Model # | 6860T56BV50D |
| Power Requirements | 240V, 30A Single Phase |
| Dimensions | 30” x 19” x 27” |

Description: Polyscience DuraChill 1.5HP Chiller, Turbine Pump. Operating Temp 5C to 35C

## Cold Trap

Images:

| Manufacturer | BVV |
| --- | --- |
| Model # | CT40UL-G |
| Power Requirements | 120V, 10A Single Phase |
| Dimensions | 22” x 18” x 28” |

Description: Used, Cold Trap, Low Temp Chiller. -40C

## Merlin M150 Chiller

Images:

| Manufacturer | ThermoFisher |
| --- | --- |
| Model # | Merlin M150 |
| Power Requirements | 240V, 30A Single Phase |
| Dimensions | 32” x 22” x 32” |

Description: Used, Merlin M150 process chiller. -20C to 35C

## Roller Mill

Images:

| Manufacturer | Colorado Mill Equipment |
| --- | --- |
| Model # | CRM639 |
| Power Requirements | 230/460V 5HP Three Phase |
| Dimensions | Crumbler: 57” x 21” x 38” Stand: 52” x 24” x 50” Hopper Flange: 42.5” x 8.25” Hopper: 41” x 24” x 20” |

Description:USED Belt-drive design, Appx. 9 corrugations per inch, Adjustable roll gap for varying particle sizes, Low profile construction for compact installation, Full-length hinged maintenance door for roll inspection and clean-up, NEMA-approved 5HP 230/460V motor, CRM-Series Crumblers, Infeed gate adjustment, No bearing alignment required, Built in bypass. Steel Stand and Hopper included, breaker/starter.

## Rotary Airlock

Images:

| Manufacturer | Oneida Air Systems |
| --- | --- |
| Model # | N/A |
| Power Requirements | 230/460V 5HP Three Phase |
| Dimensions | Dimensions: 16” x 16” x 26” Flange Dimensions: 10.5” Diameter BIC: 9.5” 3/8” Thru x 6 |

Description: Unused, Rotary Air Lock. 230/460V Geared Motor. 0.25HP. Included Starter.

## Shear Mixer

Images:

| Manufacturer | Mendel Company |
| --- | --- |
| Model # | MHS-6b |
| Power Requirements | 220V, 3Phase, 60Hz |
| Dimensions | Dimensions 36” x 20” x 46” |

Description: Used Stainless Steel High Shear Mixer. Includes three different Mixer bowl sizes (smallest shown). Pneumatic purge, variable speed control, operation timer.

## Vibrating Screen Sifter

Images:

| Manufacturer | Sweco |
| --- | --- |
| Model # | LS18S333 |
| Power Requirements | 220V, 3Phase, 60Hz |
| Dimensions | Dimensions 36” x 20” x 46” |

Description: Used, 1-Sweco 18” Double Deck SS Sifter, Model LS18S333, 115V. Includes extra screens.

## 1000L SS Tank

Images:

| Manufacturer | Glacier Tanks |
| --- | --- |
| Model # | JFMU-07-BBL |
| Power Requirements | N/A |
| Dimensions | Dimensions 48” x 48” x 96” |

Description: Used, 1000L (7BBL) Fermenting Tank. 304SS

## 20L Rotary Evaporator Heidolph

Images:

| Manufacturer | Heidolph |
| --- | --- |
| Model # | Hei-VAP |
| Power Requirements | 240V/120V |
| Dimensions | Dimensions 36” x 60” x 72” |

Description: https://heidolph-instruments.com/en/products/Large-Scale-Rotary-Evaporators/Hei-VAP-Industrial~p814

Condition: Heavily Used, Fair

## Fume Hood

Images:

| Manufacturer | N/A |
| --- | --- |
| Model # | N/A |
| Power Requirements | 120V |
| Dimensions | 72” x 30” x 72” |

Description: Laboratory Fume Hood. Chemical Resistant Base, Counterweight Glass Shield, Gas hook ups. Base Cabinets Included.

Condition: Excellent

## Variable Frequency Drive

Images:

| Manufacturer | KB Electronics |
| --- | --- |
| Model # | KBAC-48 (GRY) (9540J) |
| Power Requirements | Input:400/460 VAC 50/60Hz Output: 0-460 VAC, 0-50, 60, 100, 120 Hz Rated 8.0 Amps/Phase |
| Dimensions | 8” x 12” x 6” |

Description: VFD 3 Phase Motor Controller.

Condition: Excellent